## Slide 1: fNIRS simulation and Reconstruction

## Slide 2: 3D head mesh

## Slide 3: Optode placement
We have used the WashU HD-DOT 96 sources and 92 detectors
Can used your own
  Make sure the coordinates are in MNI space
  Use ‘touch_optodes()’ to ensure correct placement

## Slide 4
Image Reconstruction
=
=
The Jacobian (Weigh Matrix, A Matrix, Sensitivity matrix):
Relates a small change in optical properties to a change in measured data
calculated using the adjoint method
Remember this slide!

## Slide 5: Under-determined
Need to recover many unknowns (~40k - 500k)
Finite and discrete number of measurements (~100 – 1000)
= NM x NV=(1000)x(500,000)

## Slide 6: Matrix inversion
=
=
=
=
=
= Regularization parameter
Small values = overfitting, noisy images
Large values = underfitting, over-smooth images

## Slide 7: Creating the bananas!

## Slide 8: Creating the bananas!
Perturbation model
  For every source s
  For every detector d
  Model reference data, Yref(s,d)
S
d

## Slide 9: Creating the bananas!
Perturbation model
  For every source s
  For every detector d
  Model reference data, Yref(s,d)
  For every voxel v
    Perturb voxel by
    Model perturbed data, Ypert(s,d)
S
d

## Slide 10: Creating the bananas!
Perturbation model
  For every source s
  For every detector d
  Model reference data, Yref(s,d)
  For every voxel v
    Perturb voxel by
    Model perturbed data, Ypert(s,d)
S
d

## Slide 11: Creating the bananas!
Perturbation model
  For every source s
  For every detector d
  Model reference data, Yref(s,d)
  For every voxel v
    Perturb voxel by
    Model perturbed data, Ypert(s,d)
S
d

## Slide 12: Creating the bananas!
Perturbation model
  For every source s
  For every detector d
  Model reference data, Yref(s,d)
  For every voxel v
    Perturb voxel by
    Model perturbed data, Ypert(s,d)
S
d

## Slide 13: Creating the bananas!
Adjoint model
  For every source s
    Model Direct Fluence,
S
d

## Slide 14: Creating the bananas!
Adjoint model
  For every source s
    Model Direct Fluence,
  For every detector d
    Assume detector is source (Reciprocity)
    Model Adjoint Fluence,
d
S

## Slide 15: Creating the bananas!
Adjoint model
  For every source s
    Model Direct Fluence,
  For every detector d
    Assume detector is source (Reciprocity)
    Model Adjoint Fluence,
d
S

## Slide 16: Reconstruction Basis
Need to recover many unknowns (~40k - 500k)
Finite and discrete number of measurements (~100 – 1000)
But we need the model to have high enough resolution for numerical accuracy

## Slide 17: Reconstruction Basis
Solution
  Calculate Jacobian on a high-resolution mesh
  Interpolate onto coarser ‘Reconstruction Basis’
    Voxels
    Second mesh
    Regions
  Calculate update
  Map back onto mesh

## Slide 18: Brain Parcelization
The Gordon parcellation (Gordon et al., 2014) is a widely used human brain atlas
Divides the cerebral cortex into 333 distinct regions of interest (ROIs) based on resting-state functional connectivity boundary mapping
These 333 parcels are organized into 13 functional networks (or areas)

## Slide 19: Brain Parcelization
Auditory (Aud)
Cingulo-Opercular (CiO / CON)
Cingulo-Parietal (CiP)
Default Mode Network (Def / DMN)
Dorsal Attention Network (DoA / DAN)
Fronto-Parietal Network (FrP / FPN)
Retrosplenial-Temporal (ReT)
Somatomotor Hand (SMh)
Somatomotor Mouth (SMm)
Salience (Sal)
Ventral Attention Network (VeA / VAN)
Visual (Vis)
Unassigned / None (Parcels with low signal or those that do not map cleanly into a single system)

## Slide 20: Example: Auditory
parcel = "Auditory"
side = "right"
size = 15

## Slide 21: HRF to optical properties
Using extinction Coefficients of HbO and HbR, we can convert HRF to changes in Absorption
Note, we only perturb (voxels (nodes) in the activated region
=

## Slide 22: Parameter Recovery
We can use MBL (same as last example) to get a global (or channel) measure
We can use Jacobian, invert and reconstruct
Follow example notebook

## Slide 23: Questions?